## OSP Fiber Services
1. Please fill in all rows of the spreadsheet indicating (with a Y)in the yes column if you can fullfill the item and (with an N) in the no column if it is not a service you provide. If you believe you can partially fullfill the requirement, please explain what elements your company can provide. The comments field is there for any additional details you would like to provide. 2. Any items left blank will be interpreted as a 'no'. 3. A current cost/rate sheet for all services must be attached to the response. 4. Complete both tabs for OSP and ISP services
REQID | Function | Functional Requirement | Detailed Description | Notes/Additional Information | Yes | No | Partially (must provide details) | Comments
| Relocation Services | Generate a relocation plan | Move or adjust existing County fiber infrastructure.
1 |  | Identification of current fiber optic cable infrastructure | Use County records to identify affected fiber routes, strands, conduit, structures, and splice points. Field-verify as needed.
2 |  | Moving the fiber optic cable and other assets | Relocate approved fiber and associated infrastructure to the approved route while protecting active services.
3 |  | Updating the GIS maps before and after the move | Provide proposed and final GIS/as-built records showing relocated, removed, abandoned, and remaining infrastructure when separate engineering is not required. | Identfication of As built maps and any abandoned fiber infrastrcture
4 |  | Minimizing the fiber optic downtime | Plan cutovers to minimize downtime, including outage windows, temporary service if needed, restoration, and testing.
5 |  | Compliance | Perform relocation work to applicable permit, right-of-way, utility, safety, manufacturer, County, state, and federal requirements.
6 |  | Coordinating with construction companies, cities or other utilities during digging/excavation work | Coordinate excavation schedules, access, utility conflicts, fiber protection, cutovers, and restoration with affected parties.
7 |  | Supply fiber optic material for relocation | Provide required relocation materials unless County-furnished inventory is identified.
8 |  | Material reconcilation | Reconcile installed, returned, unused, damaged, defective, and scrapped materials. Distinguish County- and vendor-furnished items. | Which materials were used, installed, returned, defective, damaged/scraped.
9 |  | Monitoring the fiber optic cable during digging/excavation to protect fiber optic infrastrcuture | Provide field oversight near active County fiber. Verify markings and immediately report damage, conflicts, or service risks.
10 |  | Ensure proper documentation/report are in place in case if damage occurs for subrogation process | Confirm applicable GSOC tickets and markings before work near County fiber. Document and immediately report damage or service risks.
12 |  | Status and Planning Meetings | Participate in County planning meetings covering relocation priorities, schedules, dependencies, materials, and risks.
13 |  | Relocation Plan and NTE Estimate | Provide a relocation plan and NTE estimate covering scope, schedule, labor, materials, equipment, service impacts, and major costs.
14 |  | Existing Infrastructure Verification | Verify existing fiber routes, conduit, structures, connections, and affected infrastructure before relocation.
15 |  | Engineering Coordination | Coordinate technical questions, design changes, field conditions, materials, and testing with the County-designated engineering resource.
16 |  | Testing and Acceptance | Test affected fiber before and after relocation, correct abnormal results, and provide test documentation.
17 |  | Structures and Final Grade | Install or reset handholes, vaults, and structures so they are supported, accessible, and flush with final grade unless otherwise specified.
18 |  | Restoration | Restore disturbed pavement, turf, landscaping, drainage, gravel, and other property to applicable requirements.
19 |  | As-Builts and Asset Updates | Provide updated as-builts and asset records for relocated, replaced, removed, abandoned, and remaining infrastructure.
20 |  | Project Closeout | Provide testing, XYZ as-builts, asset updates, material reconciliation, restoration records, photos, and required closeout documents.
| Construction | New construction for Fiber infrastructure projects | Deploy fiber optic infrastructure for new locations, buildings, road/signal projects, and network expansion.
1 |  | New locations | Construct complete fiber infrastructure for authorized new County locations, partner connections, roadway/signal projects, and network expansion. Work may include boring/trenching, conduit, handholes/vaults, building entrances, cable placement, slack storage, splicing, termination, tracer systems, testing, restoration, labeling, and final documentation.
2 |  | Pre-construction meeting | Attend a pre-construction meeting to confirm design, schedule, responsibilities, permits, conflicts, materials, outages, testing, safety, and escalation contacts.
3 |  | Site Survey | Survey the site as needed to verify route feasibility, access, structures, utility conflicts, entrances, and construction constraints.
4 |  | Work Breakdown Structure (WBS) | Provide and maintain a project WBS or schedule showing major activities, dependencies, milestones, materials, outages, testing, and completion dates.
5 |  | Coordinate with municipality | Coordinate permits, right-of-way, schedules, access, traffic control, utility conflicts, restoration, and infrastructure protection with affected parties.
6 |  | Conduit excavation permits | Obtain or support required excavation, right-of-way, road opening, utility, environmental, and other assigned permits.
7 |  | Coordinate with construction | Coordinate construction sequencing and resolve field conflicts. Document approved deviations and actual installed conditions.
8 |  | Develop engineering, design, fiber routes, schematics | Build from County-approved drawings and schematics. Route technical questions and material design changes for required approval.
10 |  | Monitor construction work | Supervise construction for compliance with plans, permits, and standards. Protect County fiber and report damage or unauthorized deviations.
11 |  | General Construction | Provide labor, equipment, materials, and services required to construct complete County fiber infrastructure.
12 |  | Status and Planning Meetings | Participate in County meetings covering work priorities, schedules, resources, permits, materials, dependencies, and risks.
13 |  | Project Estimates and Authorization | Provide an NTE estimate for each request covering scope, labor, materials, equipment, schedule, and major costs. Obtain approval for material changes.
14 |  | Pre-Construction and Coordination | Review plans, verify field conditions, coordinate applicable GSOC tickets and utility locates, identify conflicts, and support required permits.
15 |  | Project Construction Meetings | Attend project meetings as required to review schedule, conflicts, changes, service impacts, testing, and documentation.
16 |  | Conduit and Structures | Install conduit, innerduct, structures, entrances, tracer systems, and related infrastructure to approved plans and standards.
17 |  | Fiber Installation and Splicing | Install and identify fiber using approved methods. Use fusion splicing unless otherwise approved.
18 |  | Testing and Acceptance | Test fiber using industry standards. Correct abnormal results and provide final test documentation.
19 |  | Restoration | Restore disturbed pavement, sidewalks, turf, landscaping, drainage, gravel, and other property to applicable requirements.
20 |  | As-Builts and Asset Information | Provide accurate as-builts showing routes, conduit, structures, cables, splices, terminations, strand assignments, and key assets.
21 |  | Change Control | Obtain County approval for material changes to routes, conduit, fiber count, structures, splice locations, materials, scope, or cost.
22 |  | Materials and Standards | Use materials and construction practices meeting County specifications and applicable safety, locating, permitting, and right-of-way requirements. | Dakota County may identify limited County-furnished materials for an individual request.
23 |  | Project Closeout | Require all the information related the materials installed, tests results,and splicing diagrams, final as built diagrams.
| Fiber Outage Services | Disruption of fiber optic network | Provide 24/7/365 emergency fiber outage repair services, including nights, weekends, and holidays.
SLA for Emergency Restoration
|  | Priority 1 (P1) Critical | Major Cut, network down Response Action Plan: <= 30 min Staff On-Site: 2 hrs Restoration Complete: 4 hours
|  | Priority 2 (P2) High | Partial Outage, network degraded Response Action Plan: <= 1 hour Staff On-Site: 4 hrs Restoration Complete: 8 hours
|  | Priority 3 (P3) Medium | Single strand fault Response Action Plan: 2 hrs Staff On-Site: 24 hrs Restoration Complete: 48 hours
1 |  | Critical/Emergency Service Priority. Outages affecting 911, public safety, core County locations, emergency communications, or other County-designated critical services receive highest priority | Give County-designated critical outages highest priority and mobilize repair resources immediately. Provide a feasible action plan if the response target cannot be met. | Within 2 hours a feasible action plan needs to be submitted
2 |  | Emergency Notification & Acknowledgment. Dedicated 24/7 contact with acknowledgment within 30 minute. Must include agency contact information | Maintain a monitored 24/7/365 emergency contact and dispatch path. Acknowledge outages, assign an incident owner, begin triage, and provide the next update time.
3 |  | Qualified technicians and splicer on site within 2 hours | Provide qualified technicians, splicers, vehicles, splicing/test equipment, safety equipment, and repair capability within the committed SLA.
4 |  | Non-critical services (parks, library) | Provide a defined response target for non-critical outages and a feasible action plan when the target cannot be met. | Within 4 hours a feasible action plan needs to be submitted
5 |  | Target restoration of critical service within 4 hours; vendor must state guaranteed SLA and exclusions | State the committed critical-service restoration target and exclusions. Identify temporary restoration options when permanent repair cannot meet the target.
6 |  | Defined escalation procedure with County status updates at least every 30 minutes during critical incidents | Maintain technical and management escalation paths and provide critical-incident updates at least every 30 minutes.
7 |  | Provide incident timeline, cause, photos, scene evidence, repair performed, restoration time, and RCA for significant incidents | Provide a closeout record with timeline, cause, affected services, photos, repairs, test results, restoration time, and RCA/corrective actions when applicable.
8 |  | Test repaired fiber and verify service restoration before closing the emergency incident | Test repaired fiber, correct abnormal results, verify service restoration, and document any temporary condition requiring permanent repair.
9 |  | Emergency Work Estimate | When requested, provide an NTE estimate or cost basis without delaying emergency restoration.
10 |  | Emergency Materials and Equipment | Maintain access to common materials, tools, test equipment, and repair capabilities required for 24/7/365 outage response.
| Material Requirements | Fiber Optic Material Requirements Defined | Define basic materials used in County fiber optic infrastructure.
1 |  | Fiber Type | Provide County-approved single-mode fiber suitable for the project environment. Identify the fiber standard, construction, rating, and manufacturer specification.
2 |  | Core Diameter | Provide fiber meeting the County-approved single-mode optical specification and applicable manufacturer/industry standards.
3 |  | Fiber Strand Count | Provide the project-specified strand count and maintain accurate strand identification through installation, testing, labeling, and as-builts.
4 |  | Conduit Information | Provide County-approved conduit diameter, material, color, rating, and configuration suitable for the installation and future capacity. | Dakota County uses 1.25", 1.5", 2" blue, 2" orange, 4" orange Conforms to MENA TC-7 Smoothwall Coailable PE Electrical Plastic Conduit Sizes 1 1/2" - 4" SDR 13.5. Schedule 40 and 80 UL listed HDPE Conduit
5 |  | Color Coding | Maintain County-required conduit and component color coding. Document approved deviations.
6 |  | Coupler | Provide compatible conduit couplers that maintain alignment, integrity, and future cable access.
7 |  | Trace Wire | Provide a continuous locatable tracer system along underground conduit routes. Test and document continuity before acceptance.
8 |  | Trace Test Pole | Provide County-approved tracer test/access points where required. Install and identify them for safe future locating.
9 |  | Splice Cases | Provide County-approved splice closures sized for cable count, splice capacity, environmental exposure, slack management, and future access. | C & D Case Tray
10 |  | Splice Trays | Provide compatible splice trays that protect and identify fibers, maintain bend radius, and match the splice design.
11 |  | Vaults | Provide County-approved vaults sized and rated for capacity, access, drainage, loading, and site conditions. Install to approved location and grade. | Vaults size 72x36 ", 36x24"
12 |  | Fiber Optic Cable | Provide County-approved single-mode cable in the required strand count, construction, rating, and reel length. Protect cable from installation damage. | 48F Small Spool Meet specs for use in extreme temp, armored Gopher resistant, and water blocking material Up to 288 strands
13 |  | Conduit Couplers | Provide couplers compatible with County-approved conduit sizes and materials while maintaining a continuous usable pathway. | Dakota County uses 1.25", 1.5", 2.0", 4"
14 |  | Patch Panel | Provide termination/patch hardware compatible with County connector, rack/enclosure, density, labeling, cable management, and grounding requirements.
15 |  | Hand Holes | Provide County-approved handholes sized and load-rated for the location, capacity, drainage, access, and future maintenance. | 24" X 36" X 36" Polymer Concrete 30" X 48" X 36" Polymer Concrete
16 |  | Gator | Provide approved factory-terminated fiber assemblies with the required connector, strand count, length, rating, labeling, and termination configuration. | 32 Meter Blunt end 12 strand LC
17 |  | Ground Rods | Provide grounding and bonding components required by applicable electrical, manufacturer, and County requirements.
18 |  | Duct Plugs | Provide duct/conduit plugs sized for the conduit and cable configuration to limit water, debris, pests, and unwanted air movement. | Dakota County uses 1.25", 1.5", 2.0", 4"
19 |  | Enclosure | Provide protective fiber enclosures suitable for the environment, capacity, access, labeling, bend radius, and future maintenance.
20 |  | Material Availability and Lead Times | Identify availability and lead times for commonly requested fiber materials and promptly report shortages affecting County work.
21 |  | Material Pricing | Provide itemized material pricing in the format requested by the County.
22 |  | Material Substitutions | Do not substitute specified materials without prior County approval. Provide technical information for proposed equivalents.
23 |  | Delivery and Reconciliation | Deliver materials as requested and document quantities supplied, used, returned, damaged, or defective. | Dakota County maintains limited inventory; County-furnished materials may be identified for individual requests.
Rates for materials and services
Must attach rates for all services, equipment or other billables

## Campus and ISP Fiber Services
1. Please fill in all rows of the spreadsheet indicating (with a Y)in the yes column if you can fullfill the item and (with an N) in the no column if it is not a service you provide. If you believe you can partially fullfill the requirement, please explain what elements your company can provide. The comments field is there for any additional details you would like to provide. 2. Any items left blank will be interpreted as a 'no'. 3. A current cost/rate sheet for all services must be attached to the response. 4. Complete both tabs for OSP and ISP services.
REQID | Function | Functional Requirement | Detailed Description | Notes/Additional Information | Yes | No | Partially (must provide details) | Comments
| Construction | New construction for Campus and/or Inside Plant Fiber (ISP) Fiber infrastructure projects | Deploy fiber optic infrastructure for both new or expanding campus and/or ISP fiber needs. | Campus fiber is defined as fiber optic needs between county buildings/ sites on the same campus or within same county property. ISP fiber is defined as fiber optic needs within a building, data closet interconnect or data center needs.
1 |  | New locations | Construct fiber optic infrastructure for both new or expanding campus and/or ISP fiber needs. Work may include boring/trenching, conduit, handholes/vaults, building entrances, cable placement, slack storage, splicing, termination, tracer systems, testing, restoration, labeling, and final documentation.
2 |  | Pre-construction meeting | Attend a pre-construction meeting to confirm design, schedule, responsibilities, permits, conflicts, materials, outages, testing, safety, and escalation contacts.
3 |  | Site Survey | Survey the site as needed to verify route feasibility, access, structures, utility conflicts, entrances, and construction constraints.
4 |  | Work Breakdown Structure (WBS) | Provide and maintain a project WBS or schedule showing major activities, dependencies, milestones, materials, outages, testing, and completion dates.
6 |  | Conduit excavation permits | Obtain or support required excavation, right-of-way, road opening, utility, environmental, and other assigned permits.
7 |  | Coordinate with construction | Coordinate construction sequencing and resolve field conflicts. Document approved deviations and actual installed conditions.
8 |  | Develop engineering, design, fiber routes, schematics | Build from County-approved drawings and schematics. Route technical questions and material design changes for required approval.
10 |  | Monitor construction work | Supervise construction for compliance with plans, permits, and standards. Protect County fiber and report damage or unauthorized deviations.
11 |  | General Construction | Provide labor, equipment, materials, and services required to construct complete County fiber infrastructure.
12 |  | Status and Planning Meetings | Participate in County meetings covering work priorities, schedules, resources, permits, materials, dependencies, and risks.
13 |  | Project Estimates and Authorization | Provide an Not-to-Exceed (NTE) estimate for each request covering scope, labor, materials, equipment, schedule, and major costs. Obtain approval for material changes.
14 |  | Pre-Construction and Coordination | Review plans, verify field conditions, coordinate if applicable GSOC tickets and utility locates, identify conflicts, and support required permits.
15 |  | Project Construction Meetings | Attend project meetings as required to review schedule, conflicts, changes, service impacts, testing, and documentation.
16 |  | Conduit and Structures | Install conduit, innerduct, structures, entrances, tracer systems, and related infrastructure to approved plans and standards.
17 |  | Fiber Installation and Splicing | Install and identify fiber using approved methods. Use fusion splicing unless otherwise approved.
18 |  | Testing and Acceptance | Test new fiber using industry standards. Correct abnormal results and provide final test documentation.
19 |  | Restoration | Restore disturbed pavement, sidewalks, turf, landscaping, drainage, gravel, and other property to applicable requirements.
20 |  | As-Builts and Asset Information | Provide accurate as-builts showing routes, conduit, structures, cables, splices, terminations, strand assignments, and key assets.
21 |  | Change Control | Obtain County approval for material changes to routes, conduit, fiber count, structures, splice locations, materials, scope, or cost.
22 |  | Materials and Standards | Use materials and construction practices meeting County specifications and applicable safety, locating, permitting, and right-of-way requirements.
23 |  | Project Closeout | Provide testing, as-builts, asset updates, material reconciliation, restoration records, photos, and required closeout documents.
| Fiber Outage Services | Disruption of fiber optic network | Provide 24/7/365 emergency fiber outage repair services, including nights, weekends, and holidays.
1 |  | Critical/Emergency Service Priority. Outages affecting 911, public safety, core County locations, emergency communications, or other County-designated critical services receive highest priority | Give County-designated critical outages highest priority and mobilize repair resources immediately. Provide a feasible action plan if the response target cannot be met. | Within 2 hours a feasible action plan needs to be submitted
2 |  | Emergency Notification & Acknowledgment. Dedicated 24/7 contact with acknowledgment within 30-60 minutes | Maintain a monitored 24/7/365 emergency contact and dispatch path. Acknowledge outages, assign an incident owner, begin triage, and provide the next update time.
3 |  | Qualified technicians and splicer on site within 2 hours | Provide qualified technicians, splicers, vehicles, splicing/test equipment, safety equipment, and repair capability within the committed SLA.
4 |  | Non-critical services (parks, library, traffic signals) | Provide a defined response target for non-critical outages and a feasible action plan when the target cannot be met. | Within 4 hours a feasible action plan needs to be submitted
5 |  | Target restoration of critical service within 4 hours; vendor must state guaranteed SLA and exclusions | State the committed critical-service restoration target and exclusions. Identify temporary restoration options when permanent repair cannot meet the target.
6 |  | Defined escalation procedure with County status updates at least every 30 minutes during critical incidents | Maintain technical and management escalation paths and provide critical-incident updates at least every 30 minutes.
7 |  | Provide incident timeline, cause, photos, scene evidence, repair performed, restoration time, and Root Cause Analysis (RCA) for significant incidents | Provide a closeout record with timeline, cause, affected services, photos, repairs, test results, restoration time, and RCA/corrective actions when applicable.
8 |  | Test repaired fiber and verify service restoration before closing the emergency incident | Test repaired fiber, correct abnormal results, verify service restoration, and document any temporary condition requiring permanent repair.
9 |  | Emergency Work Estimate | When requested, provide an NTE estimate or cost basis without delaying emergency restoration.
10 |  | Emergency Materials and Equipment | Maintain access to common materials, tools, test equipment, and repair capabilities required for 24/7/365 outage response.
| Material Requirements | Fiber Optic Material Requirements Defined | Define basic materials used in County fiber optic infrastructure.
1 |  | Fiber Type | Provide County-approved single-mode fiber suitable for the project environment. Identify the fiber standard, construction, rating, and manufacturer specification.
2 |  | Core Diameter | Provide fiber meeting the County-approved single-mode optical specification and applicable manufacturer/industry standards.
3 |  | Fiber Strand Count | Provide the project-specified strand count and maintain accurate strand identification through installation, testing, labeling, and as-builts.
4 |  | Conduit Information | Provide County-approved conduit diameter, material, color, rating, and configuration suitable for the installation and future capacity.
5 |  | Color Coding | Maintain County-required conduit and component color coding. Document approved deviations.
6 |  | Coupler | Provide compatible conduit couplers that maintain alignment, integrity, and future cable access.
7 |  | Trace Wire | Provide a continuous locatable tracer system along underground conduit routes. Test and document continuity before acceptance.
8 |  | Trace Test Pole | Provide County-approved tracer test/access points where required. Install and identify them for safe future locating.
9 |  | Splice Cases | Provide County-approved splice closures sized for cable count, splice capacity, environmental exposure, slack management, and future access.
10 |  | Splice Trays | Provide compatible splice trays that protect and identify fibers, maintain bend radius, and match the splice design.
11 |  | Vaults | Provide County-approved vaults sized and rated for capacity, access, drainage, loading, and site conditions. Install to approved location and grade.
12 |  | Fiber Optic Cable | Provide County-approved single-mode cable in the required strand count, construction, rating, and reel length. Protect cable from installation damage.
13 |  | Conduit Couplers | Provide couplers compatible with County-approved conduit sizes and materials while maintaining a continuous usable pathway.
14 |  | Patch Panel | Provide termination/patch hardware compatible with County connector, rack/enclosure, density, labeling, cable management, and grounding requirements.
15 |  | Hand Holes | Provide County-approved handholes sized and load-rated for the location, capacity, drainage, access, and future maintenance.
16 |  | Gator | Provide approved factory-terminated fiber assemblies with the required connector, strand count, length, rating, labeling, and termination configuration.
17 |  | Ground Rods | Provide grounding and bonding components required by applicable electrical, manufacturer, and County requirements.
18 |  | Duct Plugs | Provide duct/conduit plugs sized for the conduit and cable configuration to limit water, debris, pests, and unwanted air movement.
19 |  | Enclosure | Provide protective fiber enclosures suitable for the environment, capacity, access, labeling, bend radius, and future maintenance.
20 |  | Material Availability and Lead Times | Identify availability and lead times for commonly requested fiber materials and promptly report shortages affecting County work.
21 |  | Material Pricing | Provide itemized material pricing in the format requested by the County.
22 |  | Material Substitutions | Do not substitute specified materials without prior County approval. Provide technical information for proposed equivalents.
23 |  | Delivery and Reconciliation | Deliver materials as requested and document quantities supplied, used, returned, damaged, or defective. | Dakota County maintains limited inventory; County-furnished materials may be identified for individual requests.
Rates for materials and services
Must attach rates for all services, equipment or other billables